# REPORTING FORM FOR THE WATER SYSTEM OF

## _____Village of Stratton________

Customer Name _____________________________________________

Customer Address ___________________________________________

Account Number  ____________________________________________

Yes            No

1.   Underground lawn irrigation system?			

If yes, is it protected by a testable backflow preventer?			



2.   Swimming pool or hot tub?			

If yes, is it protected by a testable backflow preventer?			



3.   Photo, chemical, medical, or other lab facilities?			

If yes, is it protected by a testable backflow preventer?			



- Private well or other source of water?			

If yes, is it protected by a testable backflow preventer?			

5.  Boiler heat or water to air heat pump?			

    If yes, is it protected by a testable backflow preventer?			

6.   Garden hoses connected to possible contaminants?			

If yes, is it protected by a hose bibb vacuum breaker?			

- Water softener?		

If yes, is it protected by an air gap?		

8.  Booster Pump?		

If yes, is it protected by a backflow preventer		

If yes, does it have a low-pressure shut off switch?		

If you have any questions please contact_________________ at ______________

Signature: _____________________________ Date:_________

Thank you,

This form will help prevent the

accidental contamination of

our drinking water

ATTENTION

ALL WATER USERS

Your local water supplier, in compliance with the Safe Drinking Water Act of 1974 and the amendment to the Safe Drinking Water Act of 1986, enacted an ordinance which provides for a program preventing backflow and backsiphonage into the public water supply system.

WHAT IS A CROSS-CONNECTION?

A plumbing cross-connection is defined as a connection between a public water supply and a source of contamination or pollution.  In other words, a cross-connection makes it possible for contaminating material to enter into the drinking water supply when the pressure of the polluted source is greater than the pressure of the water supply.  This can result in either a backsiphonage or backflow (a reversal in the normal direction of water flow).

UNDER NEBRASKA DEPARTMENT OF

HEALTH & HUMAN SERVICES

REGULATIONS TITLE 179 CHAPTER 22

YOUR LOCAL WATER UTILITY IS REQUIRED

TO CONDUCT AN ON-GOING PROGRAM

FOR THE DETECTION AND ELIMINATION

OF CROSS-CONNECTIONS

YOUR LOCAL UTILITY IS CONDUCTING

THIS SURVEY TO ASSIST CUSTOMERS

IN REPORTING POTENTIAL

BACKFLOW HAZARDS

AND TO COMPLY WITH

THIS REGULATION

THIS MUST BE DONE AT LEAST

EVERY FIVE YEARS

This survey was conducted by your water system 5 years ago.

If you completed this survey at your current residence at that time,

and there have been no plumbing changes, sign below and return

this survey.  The last survey is still on file.

Signature___________________________________

Date_____________________________

EXAMPLE

In August, 1978, a professional exterminator was treating a church located in a small town in South Carolina for termites.  The highly toxic insecticide, chlordane, was being mixed with water in small buckets.  Garden hoses were left submerged in the buckets while the mixing was being accomplished.  At the same time, workers came by to disconnect the parsonage water line from the church to install a separate water meter for the parsonage.  In the process, the water was shut off in the area of the church building.  As the remaining water in the lines was used by residents in the area, the church experienced a negative pressure.  The chlordane was quickly siphoned into the water lines within the church and became mixed with the Kool-Aid being prepared by women for the vacation bible school.  Approximately a dozen children and three adults experienced dizziness and nausea.  Fortunately, none required hospitalization.

Hopefully, your local water system will never have a backflow problem that could endanger the welfare of its citizens.  However, because potential backflow problems exist, it is important for YOUR HEALTH AND SAFETY to complete the following survey and return it to the Village Clerk’s Office, 411 Bailey Street within 30 days. If you have any questions, contact Mike Petersen at 308-340-0149.

FAILURE TO DO SO MAY RESULT IN LOSS OF SERVICE